## BOQ
CIRCUIT REF | FOUNDATION REF | DUCT REQUIRED | RATING (Kv) | PHASE | EQUIPMENT | DESCRPTION | EASTING (mm) | NORTHING (mm) | FOUNDATION TYPE | FOUNDATION (T.O.C)
MBB2 | F001 | NO | 400 | 3PH | HLPI
MBB2 | F002 | NO | 400 | 3PH | HLPI
MBB2 | F003 | NO | 400 | 3PH | HLPI
MBB2 | F004 | NO | 400 | 3PH | HLPI
MBB2 | F005 | NO | 400 | 3PH | HLPI
MBB2 | F006 | NO | 400 | 3PH | HLPI
MBB2 | F007 | NO | 400 | 3PH | HLPI
MBB2 | F008 | NO | 400 | 3PH | HLPI
MBB2 | F009 | NO | 400 | 3PH | HLPI
MBB2 | F010 | NO | 400 | 3PH | HLPI
MBB2 | F011 | NO | 400 | 3PH | HLPI
MBB2 | F012 | NO | 400 | 3PH | HLPI
MBB2 | F013 | NO | 400 | 3PH | HLPI
MBB2 | F014 | NO | 400 | 3PH | HLPI
MBB2 | F015 | NO | 400 | 3PH | HLPI
MBB2 | F016 | NO | 400 | 3PH | HLPI
MBB2 | F017 | NO | 400 | 3PH | HLPI
MBB2 | F018 | NO | 400 | 3PH | HLPI
MBB2 | F019 | NO | 400 | 3PH | HLPI
MBB2 | F020 | NO | 400 | 3PH | HLPI
MBB2 | F021 | NO | 400 | 3PH | HLPI
MBB2 | F022 | NO | 400 | 3PH | HLPI
MBB2 | F023 | YES | 400 | 3PH | RCP
MBB2 | F024 | YES | 400 | 3PH | RCP
MBB2 | F025 | YES | 400 | 3PH | RCP
MBB2 | F026 | YES | 400 | 3PH | RCP
MBB2 | F027 | YES | 400 | 3PH | RCP
MBB2 | F028 | YES | 400 | 3PH | RCP
MBB2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
MBB2 | F029 | YES | 400 | 1PH | CT
MBB2 | F030 | YES | 400 | 1PH | CT
MBB2 | F031 | YES | 400 | 1PH | CT
MBB2 | F032 | YES | 400 | 3PH | CB
MBB2 | F033 | YES | 400 | 3PH | CB
MBB2 | F034 | YES | 400 | 3PH | CB
MBB2 | F035 | YES | 400 | 1PH | CT
MBB2 | F036 | YES | 400 | 1PH | CT
MBB2 | F037 | YES | 400 | 1PH | CT
MBB2 | F038 | YES | 400 | 3PH | RCP
MBB2 | F039 | YES | 400 | 3PH | RCP
MBB2 | F040 | YES | 400 | 3PH | RCP
MBB2 | F041 | YES | 400 | 3PH | RCP
MBB2 | F042 | YES | 400 | 3PH | RCP
MBB2 | F043 | YES | 400 | 3PH | RCP
MBB2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
MBB2 | F044 | NO | 400 | 3PH | HLPI
MBB2 | F045 | NO | 400 | 3PH | HLPI
MBB2 | F046 | NO | 400 | 3PH | HLPI
MBB2 | F047 | NO | 400 | 3PH | HLPI
MBB2 | F048 | NO | 400 | 3PH | HLPI
MBB2 | F049 | NO | 400 | 3PH | HLPI
MBB2 | F050 | NO | 400 | 3PH | HLPI
MBB2 | F051 | NO | 400 | 3PH | HLPI
MBB2 | F052 | NO | 400 | 3PH | HLPI
MBB2 | F053 | NO | 400 | 3PH | HLPI
MBB2 | F054 | NO | 400 | 3PH | HLPI
MBB2 | F055 | NO | 400 | 3PH | HLPI
MBB2 | F056 | NO | 400 | 3PH | HLPI
MBB2 | F057 | NO | 400 | 3PH | HLPI
MBB2 | F058 | NO | 400 | 3PH | HLPI
MBB2 | F059 | NO | 400 | 3PH | HLPI
MBB2 | F060 | NO | 400 | 3PH | HLPI
MBB2 | F061 | NO | 400 | 3PH | HLPI
MBB2 | F062 | NO | 400 | 3PH | HLPI
MBB2 | F063 | NO | 400 | 3PH | HLPI
MBB2 | F064 | NO | 400 | 3PH | HLPI
MBB2 | F065 | NO | 400 | 3PH | HLPI
MBB2 | F066 | NO | 400 | 3PH | HLPI
MBB2 | F067 | NO | 400 | 3PH | HLPI
MBB2 | F068 | NO | 400 | 3PH | HLPI
MBB2 | F069 | NO | 400 | 3PH | HLPI
RBB2 | F001 | NO | 400 | 3PH | HLPI
RBB2 | F002 | NO | 400 | 3PH | HLPI
RBB2 | F003 | NO | 400 | 3PH | HLPI
RBB2 | F004 | NO | 400 | 3PH | HLPI
RBB2 | F005 | NO | 400 | 3PH | HLPI
RBB2 | F006 | NO | 400 | 3PH | HLPI
RBB2 | F007 | NO | 400 | 3PH | HLPI
RBB2 | F008 | NO | 400 | 3PH | HLPI
RBB2 | F009 | NO | 400 | 3PH | HLPI
RBB2 | F010 | NO | 400 | 3PH | HLPI
RBB2 | F011 | NO | 400 | 3PH | HLPI
RBB2 | F012 | NO | 400 | 3PH | HLPI
RBB2 | F013 | NO | 400 | 3PH | HLPI
RBB2 | F014 | NO | 400 | 3PH | HLPI
RBB2 | F015 | NO | 400 | 3PH | HLPI
RBB2 | F016 | NO | 400 | 3PH | HLPI
RBB2 | F017 | NO | 400 | 3PH | HLPI
RBB2 | F018 | NO | 400 | 3PH | HLPI
RBB2 | F019 | NO | 400 | 3PH | HLPI
RBB2 | F020 | NO | 400 | 3PH | HLPI
RBB2 | F021 | NO | 400 | 3PH | HLPI
RBB2 | F022 | NO | 400 | 3PH | HLPI
RBB2 | F023 | YES | 400 | 3PH | RCP
RBB2 | F024 | YES | 400 | 3PH | RCP
RBB2 | F025 | YES | 400 | 3PH | RCP
RBB2 | F026 | YES | 400 | 3PH | RCP
RBB2 | F027 | YES | 400 | 3PH | RCP
RBB2 | F028 | YES | 400 | 3PH | RCP
RBB2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
RBB2 | F029 | YES | 400 | 1PH | CT
RBB2 | F030 | YES | 400 | 1PH | CT
RBB2 | F031 | YES | 400 | 1PH | CT
RBB2 | F032 | YES | 400 | 3PH | CB
RBB2 | F033 | YES | 400 | 3PH | CB
RBB2 | F034 | YES | 400 | 3PH | CB
RBB2 | F035 | YES | 400 | 1PH | CT
RBB2 | F036 | YES | 400 | 1PH | CT
RBB2 | F037 | YES | 400 | 1PH | CT
RBB2 | F038 | YES | 400 | 3PH | RCP
RBB2 | F039 | YES | 400 | 3PH | RCP
RBB2 | F040 | YES | 400 | 3PH | RCP
RBB2 | F041 | YES | 400 | 3PH | RCP
RBB2 | F042 | YES | 400 | 3PH | RCP
RBB2 | F043 | YES | 400 | 3PH | RCP
RBB2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
RBB2 | F044 | NO | 400 | 3PH | HLPI
RBB2 | F045 | NO | 400 | 3PH | HLPI
RBB2 | F046 | NO | 400 | 3PH | HLPI
RBB2 | F047 | NO | 400 | 3PH | HLPI
RBB2 | F048 | NO | 400 | 3PH | HLPI
RBB2 | F049 | NO | 400 | 3PH | HLPI
RBB2 | F050 | NO | 400 | 3PH | HLPI
RBB2 | F051 | NO | 400 | 3PH | HLPI
RBB2 | F052 | NO | 400 | 3PH | HLPI
RBB2 | F053 | NO | 400 | 3PH | HLPI
RBB2 | F054 | NO | 400 | 3PH | HLPI
RBB2 | F055 | NO | 400 | 3PH | HLPI
RBB2 | F056 | NO | 400 | 3PH | HLPI
RBB2 | F057 | NO | 400 | 3PH | HLPI
RBB2 | F058 | NO | 400 | 3PH | HLPI
RBB2 | F059 | NO | 400 | 3PH | HLPI
RBB2 | F060 | NO | 400 | 3PH | HLPI
RBB2 | F061 | NO | 400 | 3PH | HLPI
RBB2 | F062 | NO | 400 | 3PH | HLPI
RBB2 | F063 | NO | 400 | 3PH | HLPI
RBB2 | F064 | NO | 400 | 3PH | HLPI
RBB2 | F065 | NO | 400 | 3PH | HLPI
RBB2 | F066 | NO | 400 | 3PH | HLPI
RBB2 | F067 | NO | 400 | 3PH | HLPI
RBB2 | F068 | NO | 400 | 3PH | HLPI
RBB2 | F069 | NO | 400 | 3PH | HLPI
BC1 | F001 | NO | 400 | 1PH | LLPI
BC1 | F002 | NO | 400 | 1PH | LLPI
BC1 | F003 | NO | 400 | 1PH | LLPI
BC1 | F004 | NO | 400 | 1PH | LLPI
BC1 | F005 | YES | 400 | 3PH | RCP
BC1 | F006 | YES | 400 | 3PH | RCP
BC1 | F007 | YES | 400 | 3PH | RCP
BC1 | F008 | YES | 400 | 3PH | RCP
BC1 | F009 | YES | 400 | 3PH | RCP
BC1 | F010 | YES | 400 | 3PH | RCP
BC1 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BC1 | F011 | YES | 400 | 1PH | CT
BC1 | F012 | YES | 400 | 1PH | CT
BC1 | F013 | YES | 400 | 1PH | CT
BC1 | F014 | NO | 400 | 1PH | LLPI
BC1 | F015 | NO | 400 | 1PH | LLPI
BC1 | F016 | NO | 400 | 1PH | LLPI
BC1 | F017 | NO | 400 | 1PH | LLPI
BC1 | F018 | NO | 400 | 1PH | LLPI
BC1 | F019 | NO | 400 | 1PH | LLPI
BC1 | F020 | NO | 400 | 1PH | LLPI
BC1 | F021 | YES | 400 | 3PH | CB
BC1 | F022 | YES | 400 | 3PH | CB
BC1 | F023 | YES | 400 | 3PH | CB
BC1 | F024 | YES | 400 | 1PH | CT
BC1 | F025 | YES | 400 | 1PH | CT
BC1 | F026 | YES | 400 | 1PH | CT
BC1 | F027 | NO | 400 | 1PH | LLPI
BC1 | F028 | NO | 400 | 1PH | LLPI
BC1 | F029 | NO | 400 | 1PH | LLPI
BC1 | F030 | NO | 400 | 1PH | LLPI
BC1 | F031 | NO | 400 | 1PH | LLPI
BC1 | F032 | NO | 400 | 1PH | LLPI
BC1 | F033 | NO | 400 | 1PH | LLPI
BC1 | F034 | NO | 400 | 1PH | LLPI | RCP MECH BOX FOUNDATION
BC1 | F035 | NO | 400 | 1PH | LLPI
BC1 | F036 | YES | 400 | 3PH | RCP
BC1 | F037 | YES | 400 | 3PH | RCP
BC1 | F038 | YES | 400 | 3PH | RCP
BC1 | F039 | YES | 400 | 3PH | RCP
BC1 | F040 | YES | 400 | 3PH | RCP
BC1 | F041 | YES | 400 | 3PH | RCP
BC1 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BC1 | F042 | NO | 400 | 1PH | LLPI
BC1 | F043 | NO | 400 | 1PH | LLPI
BC2 | F001 | NO | 400 | 1PH | LLPI
BC2 | F002 | NO | 400 | 1PH | LLPI
BC2 | F003 | NO | 400 | 1PH | LLPI
BC2 | F004 | NO | 400 | 1PH | LLPI
BC2 | F005 | YES | 400 | 3PH | RCP
BC2 | F006 | YES | 400 | 3PH | RCP
BC2 | F007 | YES | 400 | 3PH | RCP
BC2 | F008 | YES | 400 | 3PH | RCP
BC2 | F009 | YES | 400 | 3PH | RCP
BC2 | F010 | YES | 400 | 3PH | RCP
BC2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BC2 | F011 | YES | 400 | 1PH | CT
BC2 | F012 | YES | 400 | 1PH | CT
BC2 | F013 | YES | 400 | 1PH | CT
BC2 | F014 | NO | 400 | 1PH | LLPI
BC2 | F015 | NO | 400 | 1PH | LLPI
BC2 | F016 | NO | 400 | 1PH | LLPI
BC2 | F017 | NO | 400 | 1PH | LLPI
BC2 | F018 | NO | 400 | 1PH | LLPI
BC2 | F019 | NO | 400 | 1PH | LLPI
BC2 | F020 | NO | 400 | 1PH | LLPI
BC2 | F021 | YES | 400 | 3PH | CB
BC2 | F022 | YES | 400 | 3PH | CB
BC2 | F023 | YES | 400 | 3PH | CB
BC2 | F024 | YES | 400 | 1PH | CT
BC2 | F025 | YES | 400 | 1PH | CT
BC2 | F026 | YES | 400 | 1PH | CT
BC2 | F027 | NO | 400 | 1PH | LLPI
BC2 | F028 | NO | 400 | 1PH | LLPI
BC2 | F029 | NO | 400 | 1PH | LLPI
BC2 | F030 | NO | 400 | 1PH | LLPI
BC2 | F031 | NO | 400 | 1PH | LLPI
BC2 | F032 | NO | 400 | 1PH | LLPI
BC2 | F033 | NO | 400 | 1PH | LLPI
BC2 | F034 | NO | 400 | 1PH | LLPI | RCP MECH BOX FOUNDATION
BC2 | F035 | NO | 400 | 1PH | LLPI
BC2 | F036 | YES | 400 | 3PH | RCP
BC2 | F037 | YES | 400 | 3PH | RCP
BC2 | F038 | YES | 400 | 3PH | RCP
BC2 | F039 | YES | 400 | 3PH | RCP
BC2 | F040 | YES | 400 | 3PH | RCP
BC2 | F041 | YES | 400 | 3PH | RCP
BC2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BC2 | F042 | NO | 400 | 1PH | LLPI
BC2 | F043 | NO | 400 | 1PH | LLPI
SGT1 | F001 | NO | 400 | 1PH | LLPI
SGT1 | F002 | NO | 400 | 1PH | LLPI
SGT1 | F003 | YES | 400 | 3PH | RCP
SGT1 | F004 | YES | 400 | 3PH | RCP
SGT1 | F005 | YES | 400 | 3PH | RCP
SGT1 | F006 | YES | 400 | 3PH | RCP
SGT1 | F007 | YES | 400 | 3PH | RCP
SGT1 | F008 | YES | 400 | 3PH | RCP
SGT1 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT1 | F009 | NO | 400 | 1PH | LLPI
SGT1 | F010 | NO | 400 | 1PH | LLPI
SGT1 | F011 | YES | 400 | 3PH | PANT
SGT1 | F012 | YES | 400 | 3PH | PANT
SGT1 | F013 | YES | 400 | 3PH | PANT
SGT1 | F014 | NO | 400 | 1PH | LLPI
SGT1 | F015 | YES | 400 | 3PH | CB
SGT1 | F016 | YES | 400 | 3PH | CB
SGT1 | F017 | YES | 400 | 3PH | CB
SGT1 | F018 | YES | 400 | 1PH | CT
SGT1 | F019 | YES | 400 | 1PH | CT
SGT1 | F020 | YES | 400 | 1PH | CT
SGT1 | F021 | YES | 400 | 3PH | ESW
SGT1 | F022 | YES | 400 | 3PH | ESW
SGT1 | F023 | YES | 400 | 3PH | ESW
SGT1 | F024 | YES | 400 | 1PH | CVT
SGT1 | F025 | YES | 400 | 1PH | CVT
SGT1 | F026 | YES | 400 | 1PH | CVT
SGT1 | F027 | NO | 400 | 1PH | LLPI
SGT1 | F028 | NO | 400 | 1PH | LLPI
SGT1 | F029 | NO | 400 | 1PH | LLPI
SGT1 | F030 | YES | 400 | 1PH | SA
SGT1 | F031 | YES | 400 | 1PH | SA
SGT1 | F032 | YES | 400 | 1PH | SA
SGT1 | F033 | NO | 132 | 3PH | HLPI
SGT1 | F034 | NO | 132 | 3PH | HLPI
SGT1 | F035 | YES | 132 | 1PH | SA
SGT1 | F036 | YES | 132 | 1PH | SA
SGT1 | F037 | YES | 132 | 1PH | SA
SGT1 | F038 | NO | 132 | 3PH | HLPI
SGT1 | F039 | NO | 132 | 3PH | HLPI
SGT1 | F040 | NO | 132 | 3PH | HLPI
SGT1 | F041 | NO | 132 | 3PH | HLPI | ESW MECH BOX FOUNDATION
SGT1 | F042 | NO | 132 | 3PH | HLPI
SGT1 | F043 | NO | 132 | 3PH | HLPI
SGT1 | F044 | NO | 132 | 1PH | HLPI
SGT1 | F045 | NO | 132 | 3PH | HLPI
SGT1 | F046 | YES | 132 | 1PH | CVT
SGT1 | F047 | YES | 132 | 1PH | CVT
SGT1 | F048 | YES | 132 | 1PH | CVT
SGT1 | F049 | YES | 132 | 3PH | ESW
SGT1 | F050 | YES | 132 | 3PH | ESW
SGT1 | F051 | YES | 132 | 3PH | ESW
SGT1 | F052 | YES | 132 | 3PH | CB
SGT1 | F053 | YES | 132 | 3PH | CB
SGT1 | F054 | YES | 132 | 1PH | CT
SGT1 | F055 | YES | 132 | 1PH | CT
SGT1 | F056 | YES | 132 | 1PH | CT
SGT1 | F057 | YES | 132 | 3PH | RCP
SGT1 | F058 | YES | 132 | 3PH | RCP
SGT1 | F059 | YES | 132 | 3PH | RCP
SGT1 | F060 | YES | 132 | 3PH | RCP
SGT1 | F061 | YES | 132 | 3PH | RCP
SGT1 | F062 | YES | 132 | 3PH | RCP
SGT1 | MF02 | YES | 132 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT1 | F063 | YES | 132 | 1PH | CVT
SGT1 | F064 | YES | 132 | 1PH | CVT
SGT1 | F065 | YES | 132 | 1PH | CVT
SGT1 | F066 | NO | 132 | 1PH | CSE
SGT1 | F067 | NO | 132 | 1PH | CSE
SGT1 | F068 | NO | 132 | 1PH | CSE
SGT1 | F069 | NO | 132 | 1PH | CSE
SGT1 | F070 | NO | 132 | 1PH | CSE
SGT1 | F071 | NO | 132 | 1PH | CSE
SGT1 | F072 | NO | 132 | 1PH | CSE
SGT1 | F073 | NO | 132 | 1PH | CSE
SGT1 | F074 | NO | 132 | 1PH | CSE
SGT2 | F001 | NO | 400 | 1PH | LLPI
SGT2 | F002 | NO | 400 | 1PH | LLPI
SGT2 | F003 | YES | 400 | 3PH | RCP
SGT2 | F004 | YES | 400 | 3PH | RCP
SGT2 | F005 | YES | 400 | 3PH | RCP
SGT2 | F006 | YES | 400 | 3PH | RCP
SGT2 | F007 | YES | 400 | 3PH | RCP
SGT2 | F008 | YES | 400 | 3PH | RCP
SGT2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT2 | F009 | NO | 400 | 1PH | LLPI
SGT2 | F010 | NO | 400 | 1PH | LLPI
SGT2 | F011 | YES | 400 | 3PH | PANT
SGT2 | F012 | YES | 400 | 3PH | PANT
SGT2 | F013 | YES | 400 | 3PH | PANT
SGT2 | F014 | NO | 400 | 1PH | LLPI
SGT2 | F015 | YES | 400 | 3PH | CB
SGT2 | F016 | YES | 400 | 3PH | CB
SGT2 | F017 | YES | 400 | 3PH | CB
SGT2 | F018 | YES | 400 | 1PH | CT
SGT2 | F019 | YES | 400 | 1PH | CT
SGT2 | F020 | YES | 400 | 1PH | CT
SGT2 | F021 | YES | 400 | 3PH | ESW
SGT2 | F022 | YES | 400 | 3PH | ESW
SGT2 | F023 | YES | 400 | 3PH | ESW
SGT2 | F024 | YES | 400 | 1PH | CVT
SGT2 | F025 | YES | 400 | 1PH | CVT
SGT2 | F026 | YES | 400 | 1PH | CVT
SGT2 | F027 | NO | 400 | 1PH | LLPI
SGT2 | F028 | NO | 400 | 1PH | LLPI
SGT2 | F029 | NO | 400 | 1PH | LLPI
SGT2 | F030 | YES | 400 | 1PH | SA
SGT2 | F031 | YES | 400 | 1PH | SA
SGT2 | F032 | YES | 400 | 1PH | SA
SGT2 | F033 | NO | 132 | 3PH | HLPI
SGT2 | F034 | NO | 132 | 3PH | HLPI
SGT2 | F035 | YES | 132 | 1PH | SA
SGT2 | F036 | YES | 132 | 1PH | SA
SGT2 | F037 | YES | 132 | 1PH | SA
SGT2 | F038 | NO | 132 | 3PH | HLPI
SGT2 | F039 | NO | 132 | 3PH | HLPI
SGT2 | F040 | NO | 132 | 3PH | HLPI
SGT2 | F041 | NO | 132 | 3PH | HLPI | ESW MECH BOX FOUNDATION
SGT2 | F042 | NO | 132 | 3PH | HLPI
SGT2 | F043 | NO | 132 | 3PH | HLPI
SGT2 | F044 | NO | 132 | 3PH | HLPI
SGT2 | F045 | NO | 132 | 3PH | HLPI
SGT2 | F046 | YES | 132 | 1PH | CVT
SGT2 | F047 | YES | 132 | 1PH | CVT
SGT2 | F048 | YES | 132 | 1PH | CVT
SGT2 | F049 | YES | 132 | 3PH | ESW
SGT2 | F050 | YES | 132 | 3PH | ESW
SGT2 | F051 | YES | 132 | 3PH | ESW
SGT2 | F052 | YES | 132 | 3PH | CB
SGT2 | F053 | YES | 132 | 3PH | CB
SGT2 | F054 | YES | 132 | 1PH | CT
SGT2 | F055 | YES | 132 | 1PH | CT
SGT2 | F056 | YES | 132 | 1PH | CT
SGT2 | F057 | YES | 132 | 3PH | RCP
SGT2 | F058 | YES | 132 | 3PH | RCP
SGT2 | F059 | YES | 132 | 3PH | RCP
SGT2 | F060 | YES | 132 | 3PH | RCP
SGT2 | F061 | YES | 132 | 3PH | RCP
SGT2 | F062 | YES | 132 | 3PH | RCP
SGT2 | MF02 | YES | 132 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT2 | F063 | YES | 132 | 1PH | CVT
SGT2 | F064 | YES | 132 | 1PH | CVT
SGT2 | F065 | YES | 132 | 1PH | CVT
SGT2 | F066 | NO | 132 | 1PH | CSE
SGT2 | F067 | NO | 132 | 1PH | CSE
SGT2 | F068 | NO | 132 | 1PH | CSE
SGT2 | F069 | NO | 132 | 1PH | CSE
SGT2 | F070 | NO | 132 | 1PH | CSE
SGT2 | F071 | NO | 132 | 1PH | CSE
SGT2 | F072 | NO | 132 | 1PH | CSE
SGT2 | F073 | NO | 132 | 1PH | CSE
SGT2 | F074 | NO | 132 | 1PH | CSE
SGT3 | F001 | NO | 400 | 1PH | LLPI
SGT3 | F002 | NO | 400 | 1PH | LLPI
SGT3 | F003 | YES | 400 | 3PH | RCP
SGT3 | F004 | YES | 400 | 3PH | RCP
SGT3 | F005 | YES | 400 | 3PH | RCP
SGT3 | F006 | YES | 400 | 3PH | RCP
SGT3 | F007 | YES | 400 | 3PH | RCP
SGT3 | F008 | YES | 400 | 3PH | RCP
SGT3 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT3 | F009 | NO | 400 | 1PH | LLPI
SGT3 | F010 | NO | 400 | 1PH | LLPI
SGT3 | F011 | YES | 400 | 3PH | PANT
SGT3 | F012 | YES | 400 | 3PH | PANT
SGT3 | F013 | YES | 400 | 3PH | PANT
SGT3 | F014 | NO | 400 | 1PH | LLPI
SGT3 | F015 | YES | 400 | 3PH | CB
SGT3 | F016 | YES | 400 | 3PH | CB
SGT3 | F017 | YES | 400 | 3PH | CB
SGT3 | F018 | YES | 400 | 1PH | CT
SGT3 | F019 | YES | 400 | 1PH | CT
SGT3 | F020 | YES | 400 | 1PH | CT
SGT3 | F021 | YES | 400 | 3PH | ESW
SGT3 | F022 | YES | 400 | 3PH | ESW
SGT3 | F023 | YES | 400 | 3PH | ESW
SGT3 | F024 | YES | 400 | 1PH | CVT
SGT3 | F025 | YES | 400 | 1PH | CVT
SGT3 | F026 | YES | 400 | 1PH | CVT
SGT3 | F027 | NO | 400 | 1PH | LLPI
SGT3 | F028 | NO | 400 | 1PH | LLPI
SGT3 | F029 | NO | 400 | 1PH | LLPI
SGT3 | F030 | YES | 400 | 1PH | SA
SGT3 | F031 | YES | 400 | 1PH | SA
SGT3 | F032 | YES | 400 | 1PH | SA
SGT3 | F033 | NO | 132 | 3PH | HLPI
SGT3 | F034 | NO | 132 | 3PH | HLPI
SGT3 | F035 | YES | 132 | 1PH | SA
SGT3 | F036 | YES | 132 | 1PH | SA
SGT3 | F037 | YES | 132 | 1PH | SA
SGT3 | F038 | NO | 132 | 3PH | HLPI
SGT3 | F039 | NO | 132 | 3PH | HLPI
SGT3 | F040 | NO | 132 | 3PH | HLPI
SGT3 | F041 | NO | 132 | 3PH | HLPI | ESW MECH BOX FOUNDATION
SGT3 | F042 | NO | 132 | 3PH | HLPI
SGT3 | F043 | NO | 132 | 3PH | HLPI
SGT3 | F044 | NO | 132 | 3PH | HLPI
SGT3 | F045 | NO | 132 | 3PH | HLPI
SGT3 | F046 | YES | 132 | 1PH | CVT
SGT3 | F047 | YES | 132 | 1PH | CVT
SGT3 | F048 | YES | 132 | 1PH | CVT
SGT3 | F049 | YES | 132 | 3PH | ESW
SGT3 | F050 | YES | 132 | 3PH | ESW
SGT3 | F051 | YES | 132 | 3PH | ESW
SGT3 | F052 | YES | 132 | 3PH | CB
SGT3 | F053 | YES | 132 | 3PH | CB
SGT3 | F054 | YES | 132 | 1PH | CT
SGT3 | F055 | YES | 132 | 1PH | CT
SGT3 | F056 | YES | 132 | 1PH | CT
SGT3 | F057 | YES | 132 | 3PH | RCP
SGT3 | F058 | YES | 132 | 3PH | RCP
SGT3 | F059 | YES | 132 | 3PH | RCP
SGT3 | F060 | YES | 132 | 3PH | RCP
SGT3 | F061 | YES | 132 | 3PH | RCP
SGT3 | F062 | YES | 132 | 3PH | RCP
SGT3 | MF02 | YES | 132 | 3PH | RCP | RCP MECH BOX FOUNDATION
SGT3 | F063 | YES | 132 | 1PH | CVT
SGT3 | F064 | YES | 132 | 1PH | CVT
SGT3 | F065 | YES | 132 | 1PH | CVT
SGT3 | F066 | NO | 132 | 1PH | CSE
SGT3 | F067 | NO | 132 | 1PH | CSE
SGT3 | F068 | NO | 132 | 1PH | CSE
SGT3 | F069 | NO | 132 | 1PH | CSE
SGT3 | F070 | NO | 132 | 1PH | CSE
SGT3 | F071 | NO | 132 | 1PH | CSE
SGT3 | F072 | NO | 132 | 1PH | CSE
SGT3 | F073 | NO | 132 | 1PH | CSE
SGT3 | F074 | NO | 132 | 1PH | CSE
SYNC1 | F001 | NO | 400 | 1PH | LLPI
SYNC1 | F002 | NO | 400 | 1PH | LLPI
SYNC1 | F003 | YES | 400 | 3PH | RCP
SYNC1 | F004 | YES | 400 | 3PH | RCP
SYNC1 | F005 | YES | 400 | 3PH | RCP
SYNC1 | F006 | YES | 400 | 3PH | RCP
SYNC1 | F007 | YES | 400 | 3PH | RCP
SYNC1 | F008 | YES | 400 | 3PH | RCP
SYNC1 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SYNC1 | F009 | NO | 400 | 1PH | LLPI
SYNC1 | F010 | NO | 400 | 1PH | LLPI
SYNC1 | F011 | YES | 400 | 3PH | PANT
SYNC1 | F012 | YES | 400 | 3PH | PANT
SYNC1 | F013 | YES | 400 | 3PH | PANT
SYNC1 | F014 | NO | 400 | 1PH | LLPI
SYNC1 | F015 | YES | 400 | 3PH | CB
SYNC1 | F016 | YES | 400 | 3PH | CB
SYNC1 | F017 | YES | 400 | 3PH | CB
SYNC1 | F018 | YES | 400 | 1PH | CT
SYNC1 | F019 | YES | 400 | 1PH | CT
SYNC1 | F020 | YES | 400 | 1PH | CT
SYNC1 | F021 | YES | 400 | 3PH | RCP
SYNC1 | F022 | YES | 400 | 3PH | RCP
SYNC1 | F023 | YES | 400 | 3PH | RCP
SYNC1 | F024 | YES | 400 | 3PH | RCP
SYNC1 | F025 | YES | 400 | 3PH | RCP
SYNC1 | F026 | YES | 400 | 3PH | RCP
SYNC1 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SYNC1 | F027 | YES | 400 | 1PH | CVT
SYNC1 | F028 | YES | 400 | 1PH | CVT
SYNC1 | F029 | YES | 400 | 1PH | CVT
SYNC1 | F030 | NO | 400 | 1PH | LLPI
SYNC1 | F031 | NO | 400 | 1PH | LLPI
SYNC1 | F032 | NO | 400 | 1PH | LLPI
SYNC1 | F033 | YES | 400 | 1PH | SA
SYNC1 | F034 | YES | 400 | 1PH | SA
SYNC1 | F035 | YES | 400 | 1PH | SA
SYNC1 | F036 | NO | 400 | 1PH | LLPI
SYNC1 | F037 | NO | 400 | 1PH | LLPI
SYNC1 | F038 | NO | 400 | 1PH | LLPI
SYNC1 | F039 | NO | 400 | 1PH | LLPI
SYNC1 | F040 | NO | 400 | 1PH | LLPI
SYNC1 | F041 | NO | 400 | 1PH | LLPI
SYNC1 | F042 | NO | 400 | 1PH | LLPI
SYNC1 | F043 | NO | 400 | 1PH | LLPI
SYNC1 | F044 | NO | 400 | 1PH | LLPI
SYNC1 | F045 | NO | 400 | 3PH | HLPI
SYNC1 | F046 | NO | 400 | 3PH | HLPI
SYNC1 | F047 | NO | 400 | 3PH | HLPI
SYNC1 | F048 | NO | 400 | 3PH | HLPI
SYNC1 | F049 | NO | 400 | 3PH | HLPI
SYNC1 | F050 | NO | 400 | 3PH | HLPI
SYNC1 | F051 | NO | 400 | 3PH | HLPI
SYNC1 | F052 | NO | 400 | 3PH | HLPI
SYNC1 | F053 | NO | 400 | 3PH | HLPI
SYNC1 | F054 | NO | 400 | 3PH | HLPI
SYNC1 | F055 | YES | 400 | 1PH | SA
SYNC1 | F056 | YES | 400 | 1PH | SA
SYNC1 | F057 | YES | 400 | 1PH | SA
SYNC2 | F001 | NO | 400 | 1PH | LLPI
SYNC2 | F002 | NO | 400 | 1PH | LLPI
SYNC2 | F003 | YES | 400 | 3PH | RCP
SYNC2 | F004 | YES | 400 | 3PH | RCP
SYNC2 | F005 | YES | 400 | 3PH | RCP
SYNC2 | F006 | YES | 400 | 3PH | RCP
SYNC2 | F007 | YES | 400 | 3PH | RCP
SYNC2 | F008 | YES | 400 | 3PH | RCP
SYNC2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SYNC2 | F009 | NO | 400 | 1PH | LLPI
SYNC2 | F010 | NO | 400 | 1PH | LLPI
SYNC2 | F011 | YES | 400 | 3PH | PANT
SYNC2 | F012 | YES | 400 | 3PH | PANT
SYNC2 | F013 | YES | 400 | 3PH | PANT
SYNC2 | F014 | NO | 400 | 1PH | LLPI
SYNC2 | F015 | YES | 400 | 3PH | CB
SYNC2 | F016 | YES | 400 | 3PH | CB
SYNC2 | F017 | YES | 400 | 3PH | CB
SYNC2 | F018 | YES | 400 | 1PH | CT
SYNC2 | F019 | YES | 400 | 1PH | CT
SYNC2 | F020 | YES | 400 | 1PH | CT
SYNC2 | F021 | YES | 400 | 3PH | RCP
SYNC2 | F022 | YES | 400 | 3PH | RCP
SYNC2 | F023 | YES | 400 | 3PH | RCP
SYNC2 | F024 | YES | 400 | 3PH | RCP
SYNC2 | F025 | YES | 400 | 3PH | RCP
SYNC2 | F026 | YES | 400 | 3PH | RCP
SYNC2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
SYNC2 | F027 | YES | 400 | 1PH | CVT
SYNC2 | F028 | YES | 400 | 1PH | CVT
SYNC2 | F029 | YES | 400 | 1PH | CVT
SYNC2 | F030 | NO | 400 | 3PH | HLPI
SYNC2 | F031 | NO | 400 | 3PH | HLPI
SYNC2 | F032 | YES | 400 | 1PH | SA
SYNC2 | F033 | YES | 400 | 1PH | SA
SYNC2 | F034 | YES | 400 | 1PH | SA
SYNC2 | F035 | NO | 400 | 3PH | HLPI
SYNC2 | F036 | NO | 400 | 3PH | HLPI
SYNC2 | F037 | NO | 400 | 3PH | HLPI
SYNC2 | F038 | NO | 400 | 3PH | HLPI
SYNC2 | F039 | NO | 400 | 3PH | HLPI
SYNC2 | F040 | NO | 400 | 3PH | HLPI
SYNC2 | F041 | NO | 400 | 3PH | HLPI
SYNC2 | F042 | NO | 400 | 3PH | HLPI
SYNC2 | F043 | NO | 400 | 3PH | HLPI
SYNC2 | F044 | NO | 400 | 3PH | HLPI
SYNC2 | F045 | NO | 400 | 3PH | HLPI
SYNC2 | F046 | NO | 400 | 3PH | HLPI
SYNC2 | F047 | NO | 400 | 3PH | HLPI
SYNC2 | F048 | NO | 400 | 3PH | HLPI
SYNC2 | F049 | YES | 400 | 1PH | SA
SYNC2 | F050 | YES | 400 | 1PH | SA
SYNC2 | F051 | YES | 400 | 1PH | SA
FEN1 | F001 | NO | 400 | 1PH | LLPI
FEN1 | F002 | NO | 400 | 1PH | LLPI
FEN1 | F003 | YES | 400 | 3PH | RCP
FEN1 | F004 | YES | 400 | 3PH | RCP
FEN2 | F005 | YES | 400 | 3PH | RCP
FEN1 | F006 | YES | 400 | 3PH | RCP
FEN1 | F007 | YES | 400 | 3PH | RCP
FEN1 | F008 | YES | 400 | 3PH | RCP
FEN1 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
FEN1 | F009 | NO | 400 | 1PH | LLPI
FEN1 | F010 | NO | 400 | 1PH | LLPI
FEN1 | F011 | YES | 400 | 3PH | PANT
FEN1 | F012 | YES | 400 | 3PH | PANT
FEN1 | F013 | YES | 400 | 3PH | PANT
FEN1 | F014 | NO | 400 | 1PH | LLPI
FEN1 | F015 | YES | 400 | 3PH | CB
FEN1 | F016 | YES | 400 | 3PH | CB
FEN1 | F017 | YES | 400 | 3PH | CB
FEN1 | F018 | YES | 400 | 1PH | CT
FEN1 | F019 | YES | 400 | 1PH | CT
FEN1 | F020 | YES | 400 | 1PH | CT
FEN1 | F021 | YES | 400 | 3PH | RCP
FEN1 | F022 | YES | 400 | 3PH | RCP
FEN1 | F023 | YES | 400 | 3PH | RCP
FEN1 | F024 | YES | 400 | 3PH | RCP
FEN1 | F025 | YES | 400 | 3PH | RCP
FEN1 | F026 | YES | 400 | 3PH | RCP
FEN1 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
FEN1 | F027 | YES | 400 | 1PH | CVT
FEN1 | F028 | YES | 400 | 1PH | CVT
FEN1 | F029 | YES | 400 | 1PH | CVT
FEN1 | F030 | NO | 400 | 1PH | LLPI
FEN1 | F031 | NO | 400 | 1PH | LLPI
FEN1 | F032 | NO | 400 | 1PH | LLPI
FEN1 | F033 | NO | 400 | 1PH | LLPI
FEN1 | F034 | NO | 400 | 1PH | LLPI
FEN1 | F035 | NO | 400 | 1PH | LLPI
FEN1 | F036 | NO | 400 | 1PH | LLPI
FEN1 | F037 | NO | 400 | 1PH | LLPI
FEN1 | F038 | NO | 400 | 1PH | LLPI
FEN1 | F039 | NO | 400 | 1PH | LLPI
FEN1 | F040 | NO | 400 | 1PH | LLPI
FEN1 | F041 | NO | 400 | 1PH | LLPI
FEN1 | F042 | NO | 400 | 3PH | HLPI
FEN1 | F043 | NO | 400 | 3PH | HLPI
FEN1 | F044 | NO | 400 | 3PH | HLPI
FEN1 | F045 | NO | 400 | 3PH | HLPI
FEN1 | F046 | NO | 400 | 3PH | HLPI
FEN1 | F047 | NO | 400 | 3PH | HLPI
FEN1 | F048 | NO | 400 | 1PH | LLPI
FEN1 | F049 | NO | 400 | 1PH | LLPI
FEN1 | F050 | NO | 400 | 1PH | LLPI
FEN1 | F051 | NO | 400 | 1PH | LLPI
FEN1 | F052 | NO | 400 | 1PH | LLPI
FEN1 | F053 | NO | 400 | 1PH | LLPI
FEN1 | F054 | NO | 400 | 1PH | LLPI
FEN1 | F055 | NO | 400 | 1PH | LLPI
FEN1 | F056 | NO | 400 | 1PH | LLPI
FEN1 | F057 | NO | 400 | 1PH | LLPI
FEN1 | F058 | NO | 400 | 1PH | LLPI
FEN1 | F059 | NO | 400 | 1PH | LLPI
FEN1 | F060 | NO | 400 | 1PH | LLPI
FEN1 | F061 | NO | 400 | 1PH | LLPI
FEN1 | F062 | NO | 400 | 1PH | LLPI
FEN1 | F063 | NO | 400 | 1PH | LLPI
FEN1 | F064 | NO | 400 | 1PH | LLPI
FEN1 | F065 | NO | 400 | 1PH | LLPI
FEN1 | F066 | NO | 400 | 1PH | LLPI
FEN1 | F067 | NO | 400 | 1PH | LLPI
FEN1 | F068 | NO | 400 | 1PH | LLPI
FEN1 | F069 | NO | 400 | 1PH | LLPI
FEN1 | F070 | NO | 400 | 1PH | LLPI
FEN1 | F071 | NO | 400 | 1PH | LLPI
FEN1 | F072 | NO | 400 | 1PH | LLPI
FEN1 | F073 | YES | 400 | 1PH | CT
FEN1 | F074 | YES | 400 | 1PH | CT
FEN1 | F075 | YES | 400 | 1PH | CT
FEN1 | F076 | YES | 400 | 1PH | SA
FEN1 | F077 | YES | 400 | 1PH | SA
FEN1 | F078 | YES | 400 | 1PH | SA
FEN1 | F079 | NO | 400 | 1PH | LLPI
FEN1 | F080 | NO | 400 | 1PH | LLPI
FEN1 | F081 | NO | 400 | 1PH | LLPI
FEN1 | F082 | NO | 400 | 3PH | LG
FEN1 | F083 | NO | 400 | 3PH | LG
FEN2 | F001 | NO | 400 | 1PH | LLPI
FEN2 | F002 | NO | 400 | 1PH | LLPI
FEN2 | F003 | YES | 400 | 3PH | RCP
FEN2 | F004 | YES | 400 | 3PH | RCP
FEN2 | F005 | YES | 400 | 3PH | RCP
FEN2 | F006 | YES | 400 | 3PH | RCP
FEN2 | F007 | YES | 400 | 3PH | RCP
FEN2 | F008 | YES | 400 | 3PH | RCP
FEN2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
FEN2 | F009 | NO | 400 | 1PH | LLPI
FEN2 | F010 | NO | 400 | 1PH | LLPI
FEN2 | F011 | YES | 400 | 3PH | PANT
FEN2 | F012 | YES | 400 | 3PH | PANT
FEN2 | F013 | YES | 400 | 3PH | PANT
FEN2 | F014 | NO | 400 | 1PH | LLPI
FEN2 | F015 | YES | 400 | 3PH | CB
FEN2 | F016 | YES | 400 | 3PH | CB
FEN2 | F017 | YES | 400 | 3PH | CB
FEN2 | F018 | YES | 400 | 1PH | CT
FEN2 | F019 | YES | 400 | 1PH | CT
FEN2 | F020 | YES | 400 | 1PH | CT
FEN2 | F021 | YES | 400 | 3PH | RCP
FEN2 | F022 | YES | 400 | 3PH | RCP
FEN2 | F023 | YES | 400 | 3PH | RCP
FEN2 | F024 | YES | 400 | 3PH | RCP
FEN2 | F025 | YES | 400 | 3PH | RCP
FEN2 | F026 | YES | 400 | 3PH | RCP
FEN2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
FEN2 | F027 | YES | 400 | 1PH | CVT
FEN2 | F028 | YES | 400 | 1PH | CVT
FEN2 | F029 | YES | 400 | 1PH | CVT
FEN2 | F030 | NO | 400 | 3PH | HLPI
FEN2 | F031 | NO | 400 | 3PH | HLPI
FEN2 | F032 | NO | 400 | 3PH | HLPI
FEN2 | F033 | NO | 400 | 3PH | HLPI
FEN2 | F034 | NO | 400 | 3PH | HLPI
FEN2 | F035 | NO | 400 | 3PH | HLPI
FEN2 | F036 | NO | 400 | 3PH | HLPI
FEN2 | F037 | NO | 400 | 3PH | HLPI
FEN2 | F038 | NO | 400 | 3PH | HLPI
FEN2 | F039 | NO | 400 | 3PH | HLPI
FEN2 | F040 | NO | 400 | 3PH | HLPI
FEN2 | F041 | NO | 400 | 3PH | HLPI
FEN2 | F042 | NO | 400 | 1PH | LLPI
FEN2 | F043 | NO | 400 | 1PH | LLPI
FEN2 | F044 | NO | 400 | 1PH | LLPI
FEN2 | F045 | NO | 400 | 1PH | LLPI
FEN2 | F046 | NO | 400 | 1PH | LLPI
FEN2 | F047 | NO | 400 | 1PH | LLPI
FEN2 | F048 | NO | 400 | 1PH | LLPI
FEN2 | F049 | NO | 400 | 1PH | LLPI
FEN2 | F050 | NO | 400 | 1PH | LLPI
FEN2 | F051 | NO | 400 | 1PH | LLPI
FEN2 | F052 | NO | 400 | 1PH | LLPI
FEN2 | F053 | NO | 400 | 1PH | LLPI
FEN2 | F054 | NO | 400 | 1PH | LLPI
FEN2 | F055 | NO | 400 | 1PH | LLPI
FEN2 | F056 | NO | 400 | 1PH | LLPI
FEN2 | F057 | NO | 400 | 1PH | LLPI
FEN2 | F058 | NO | 400 | 1PH | LLPI
FEN2 | F059 | NO | 400 | 1PH | LLPI
FEN2 | F060 | NO | 400 | 1PH | LLPI
FEN2 | F061 | NO | 400 | 1PH | LLPI
FEN2 | F062 | NO | 400 | 1PH | LLPI
FEN2 | F063 | NO | 400 | 1PH | LLPI
FEN2 | F064 | NO | 400 | 1PH | LLPI
FEN2 | F065 | NO | 400 | 1PH | LLPI
FEN2 | F066 | NO | 400 | 1PH | LLPI
FEN2 | F067 | YES | 400 | 1PH | CT
FEN2 | F068 | YES | 400 | 1PH | CT
FEN2 | F069 | YES | 400 | 1PH | CT
FEN2 | F070 | YES | 400 | 1PH | SA
FEN2 | F071 | YES | 400 | 1PH | SA
FEN2 | F072 | YES | 400 | 1PH | SA
FEN2 | F073 | NO | 400 | 1PH | LLPI
FEN2 | F074 | NO | 400 | 1PH | LLPI
FEN2 | F075 | NO | 400 | 1PH | LLPI
FEN2 | F076 | NO | 400 | 3PH | LG
FEN2 | F077 | NO | 400 | 3PH | LG
BANN1 | F001 | NO | 400 | 1PH | LLPI
BANN1 | F002 | NO | 400 | 1PH | LLPI
BANN1 | F003 | YES | 400 | 3PH | RCP
BANN1 | F004 | YES | 400 | 3PH | RCP
BANN1 | F005 | YES | 400 | 3PH | RCP
BANN1 | F006 | YES | 400 | 3PH | RCP
BANN1 | F007 | YES | 400 | 3PH | RCP
BANN1 | F008 | YES | 400 | 3PH | RCP
BANN1 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BANN1 | F009 | NO | 400 | 1PH | LLPI
BANN1 | F010 | NO | 400 | 1PH | LLPI
BANN1 | F011 | YES | 400 | 3PH | PANT
BANN1 | F012 | YES | 400 | 3PH | PANT
BANN1 | F013 | YES | 400 | 3PH | PANT
BANN1 | F014 | NO | 400 | 1PH | LLPI
BANN1 | F015 | YES | 400 | 3PH | CB
BANN1 | F016 | YES | 400 | 3PH | CB
BANN1 | F017 | YES | 400 | 3PH | CB
BANN1 | F018 | YES | 400 | 1PH | CT
BANN1 | F019 | YES | 400 | 1PH | CT
BANN1 | F020 | YES | 400 | 1PH | CT
BANN1 | F021 | YES | 400 | 3PH | RCP
BANN1 | F022 | YES | 400 | 3PH | RCP
BANN1 | F023 | YES | 400 | 3PH | RCP
BANN1 | F024 | YES | 400 | 3PH | RCP
BANN1 | F025 | YES | 400 | 3PH | RCP
BANN1 | F026 | YES | 400 | 3PH | RCP
BANN1 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BANN1 | F027 | YES | 400 | 1PH | CVT
BANN1 | F028 | YES | 400 | 1PH | CVT
BANN1 | F029 | YES | 400 | 1PH | CVT
BANN1 | F030 | NO | 400 | 1PH | LLPI
BANN1 | F031 | NO | 400 | 1PH | LLPI
BANN1 | F032 | NO | 400 | 1PH | LLPI
BANN1 | F033 | YES | 400 | 1PH | SA
BANN1 | F034 | YES | 400 | 1PH | SA
BANN1 | F035 | YES | 400 | 1PH | SA
BANN1 | F036 | NO | 400 | 1PH | LLPI
BANN1 | F037 | NO | 400 | 1PH | LLPI
BANN1 | F038 | NO | 400 | 1PH | LLPI
BANN1 | F039 | NO | 400 | 1PH | LLPI
BANN1 | F040 | NO | 400 | 1PH | LLPI
BANN1 | F041 | NO | 400 | 1PH | LLPI
BANN1 | F042 | NO | 400 | 3PH | LG
BANN1 | F043 | NO | 400 | 3PH | LG
BANN2 | F001 | NO | 400 | 1PH | LLPI
BANN2 | F002 | NO | 400 | 1PH | LLPI
BANN2 | F003 | YES | 400 | 3PH | RCP
BANN2 | F004 | YES | 400 | 3PH | RCP
BANN2 | F005 | YES | 400 | 3PH | RCP
BANN2 | F006 | YES | 400 | 3PH | RCP
BANN2 | F007 | YES | 400 | 3PH | RCP
BANN2 | F008 | YES | 400 | 3PH | RCP
BANN2 | MF01 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BANN2 | F009 | NO | 400 | 1PH | LLPI
BANN2 | F010 | NO | 400 | 1PH | LLPI
BANN2 | F011 | YES | 400 | 3PH | PANT
BANN2 | F012 | YES | 400 | 3PH | PANT
BANN2 | F013 | YES | 400 | 3PH | PANT
BANN2 | F014 | NO | 400 | 1PH | LLPI
BANN2 | F015 | YES | 400 | 3PH | CB
BANN2 | F016 | YES | 400 | 3PH | CB
BANN2 | F017 | YES | 400 | 3PH | CB
BANN2 | F018 | YES | 400 | 1PH | CT
BANN2 | F019 | YES | 400 | 1PH | CT
BANN2 | F020 | YES | 400 | 1PH | CT
BANN2 | F021 | YES | 400 | 3PH | RCP
BANN2 | F022 | YES | 400 | 3PH | RCP
BANN2 | F023 | YES | 400 | 3PH | RCP
BANN2 | F024 | YES | 400 | 3PH | RCP
BANN2 | F025 | YES | 400 | 3PH | RCP
BANN2 | F026 | YES | 400 | 3PH | RCP
BANN2 | MF02 | YES | 400 | 3PH | RCP | RCP MECH BOX FOUNDATION
BANN2 | F027 | YES | 400 | 1PH | CVT
BANN2 | F028 | YES | 400 | 1PH | CVT
BANN2 | F029 | YES | 400 | 1PH | CVT
BANN2 | F030 | NO | 400 | 1PH | LLPI
BANN2 | F031 | NO | 400 | 1PH | LLPI
BANN2 | F032 | NO | 400 | 1PH | LLPI
BANN2 | F033 | YES | 400 | 1PH | SA
BANN2 | F034 | YES | 400 | 1PH | SA
BANN2 | F035 | YES | 400 | 1PH | SA
BANN2 | F036 | NO | 400 | 1PH | LLPI
BANN2 | F037 | NO | 400 | 1PH | LLPI
BANN2 | F038 | NO | 400 | 1PH | LLPI
BANN2 | F039 | NO | 400 | 1PH | LLPI
BANN2 | F040 | NO | 400 | 1PH | LLPI
BANN2 | F041 | NO | 400 | 1PH | LLPI
BANN2 | F042 | NO | 400 | 3PH | LG
BANN2 | F043 | NO | 400 | 3PH | LG

## Info
EQUIPMENT | FOUNDATION TYPE | Meaning | Description
HLPI | Type X | High Level Power Interface (or High Load Power Interface) | Likely a major power intake/output point – could be a main feeder or connection point between grid and plant. Possibly includes metering and protection.
RCP | Type X | Reinforced Concrete Pad | Civil foundation element for mounting HV equipment like transformers, switchgear, etc.
CT | Type X | Current Transformer | Measures current; used for protection and metering. Mounted on structures or pads.
LLPI | Type X | Low Level Power Interface | The outgoing or internal power interface point (compared to HLPI). Could be a connection to internal LV/MV systems.
CB | Type X | Circuit Breaker | HV switchgear device to interrupt faults; often mounted on steelwork above a concrete base.
PANT | Type X | Pantograph | Type of disconnector often used in rail or compact GIS systems — allows connection to overhead conductor or busbar.
ESW | Type X | Earthing Switch | Device used to connect equipment to earth during maintenance or fault. Often part of a disconnector.
CVT | Type X | Capacitive Voltage Transformer | Measures voltage in HV systems, often also used to couple communication signals (PLC).
SA | Type X | Surge Arrester | Protects equipment from overvoltage/surges like lightning or switching spikes. Usually mounted on small pads or directly on steelwork.
LG | Type X | Lightning Guard / Lightning Ground / Local Ground | Most likely refers to grounding or lightning protection equipment; could be part of earth grid or specific rods/mats.